## Builders Works
PROPOSED CONSTRUCTION OF PERIMETER WALL AT UMMA UNIVERSITY
STAFF QUARTERS KAJIADO
BILL OF QUANTITITES
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
(KSH)
BOUNDARY WALL
1 | PRELIMINARIES AND GENERAL COSTS
1.1 | Allow for signboard as per county requirements | ITEM
1.2 | Test Samples | ITEM
Total for for preliminaries carried to summary
BUILDERS WORKS
ELEMENT NO.1
SUBSTRUCTURES
(All Provisional)
Excavations and earthworks
A | Excavate for strip foundation starting from natural ground but not exceeding 1.50 metres deep | Cm | 410
B | Excavate for column bases starting from natural ground but not exceeding 1.50 metres deep | Cm | 102
C | Return, Fill and ram selected materials around excavations | Cm | 309
D | Remove and cart away all surplus excavated materials from site | Cm | 203
E | Allow for keeping excavation free from water by all means | Item
Anti-termite treatment
F | Treat bottom and top of Foundation with termidor 250EC or similar approved anti-termite chemical applied strictly in accordance with the printed manual or instructions | Sm | 360
G | Plain concrete
| 50mm Thick mass concrete mix 1:4:8 blinding under strip footing | Sm | 342
H | Ditto column bases | Sm | 88
Insitu vibrated reinforced concrete class 20/20mm in:
I | Strip footing | Cm | 51
J | Columns | Cm | 15
K | Column bases | Cm | 14
Reinforcement
High yield steel cold worked to B.S 4461 including bendss, hooks,tying wire,
M | 8mm Diammeter bars | Kg | 521
N | 10mm Ditto | Kg | 3124
O | 12mm Ditto | Kg | 1566
Total carried to collection
Page 02
Sawn timber formwork to :
A | Sides of columns | Sm | 158
Medium chisel dressed natural stone walling bedded and jointed in cement and sand (1:3) mortat and reinforced in every altenate course with hoop iron ties
B | 200mm Thick walling | Sm | 605
Damp-proofing
C | 200mm wide damp-proof course to B.S 743 type A bitumen base laid with 150mm minimum heads laps. | lm | 570
Expansion joint :-
D | 12mm Thick flexcell expansion joint fixed in accordance with manufacturers printed instructions. | Sm | 16
Total carried to collection
COLLECTION
Total brought forward from page 1
Total brought forward from page 2 above
TOTAL FOR SUBSTRUCTURE CARRIED FORWARD TO SUMMARY
Page 03
ELEMENT NO.2
SUPERSTRUCTURE CONCRETE WORKS
Insitu Vibrated reinforced concrete class 20/20mm in:-
A | Columns | Cm | 29
Reinforcement
High yield steel cold worked to B.S 4461 including bends, hooks, tying wire, and spacer blocks in:-
B | 8mm Diammeter bars | Kg | 862
C | 12mm Ditto | Kg | 1880
Sawn timber formwork as described to :-
D | Sides of columns | Sm | 290
Cement and sand (1:4) render to :-
G | Columns | Sm | 290
Expansion joint :-
H | 12mm Thick flexcell expansion joint fixed in accordance with manufacturer's printed instructions. | Sm | 35
I | 25 x 25 expedite sealer | Lm | 345
Total for concrete superstructure carried forward to summary
Page 04
ELEMENT NO.3
WALLING
Superstructure walling
A | 200mm Thick approved machine cut stone walling bedded and jointed in cement and sand (1:3) mortar and reinforced in every alternate course with hoop iron ties as described | Sm | 1110
Cement and sand (1:4) vertical flush and horizontal recessed key pointing to :-
B | Internal and external faces of wall | Sm | 1664
Coping
C | Supply and fix coping to masonry walling 300 mm wide by 75mm high | lm | 570
Decorative grilles
D | Supply and fix to masonry 2400mm diammeter half workshop painted roun decorative grilles comprising 25 x 10mm thick metal flats to Architect drawings and details | No | 325
Weep holes
E | 150mm Diammeter 250mm long Upvc pipe weep holes fixed to Architects specifications | No | 150
Total for walling carried forward to summary
Page 05
ELEMENT NO.4
RAZOR WIRE
A | Supply and fix 450mm diameter galvanised razor wire rate inclusive of 25x25 angle line prepainted anchorage posts at 1000mm spacing and galvanised wire. | lm | 570
Total for razor wire carried forward to summary
Page 06
ELEMENT NO.5
GATE HOUSE
SUBSTRUCTURE WORKS
Excavations and Earthworks
A | Excavate to reduce levels starting from stripped level and column pits not exceeding 1.5M deep. | 13 | CM
B | Remove surplus excavated material and cart away | 3 | CM
C | Return fill and well ram selected excavated material around foundations | 3.3 | CM
Fillings
D | Approved murram filling to make up levels, well rammed and consolidated in 150mm thick layers | 8 | CM
E | 300mm thick approved hardcore filling spread, levelled, well rammed and consolidated in 150mm | 4 | CM
thick layers to receive concrete surfacec bed
F | Anti - termite treatment as "Premise 200 sc" distributed by High Chemicals essentials or other equal and approved applied to surface of blinded hardcore and surrounding areas strictly in accordance with manufacturer's instructions | 13 | SM
Carried to Collection
Mass Concrete class 15/20
A | 50mm Thick blinding: under foundations | 11 | SM
Vibrated concrete class 20/20mm in:-
B | Strip foundation | 1.7 | CM
C | 125mm Thick ground floor slab | 23 | SM
Fabric Mesh reinforcement
D | Fabric mesh reinforcement to B.S. 4483 ref: A142
weighing 2.22 Kg per square metre in floor slab
| (measured nett - no allowance for minimum | 23 | SM
230mm laps) including tying wire and supports as
required
High yield reinforcement bars
E | T10 | 36 | KG
F | T8 | 24 | KG
Rough dressed natural stones or other equal
and approved bedded and jointed in cement
sand mortar (1:4):-
G | 200mm thick walls | 22 | SM
Hessian based bituminous felt or any other
equal and approved dump proof course:-
H | Horizontal: 200mm wide. | 18 | LM
I | 1000mm gauge polythene damp proof membrane with 300mm welted lap under concrete. | 13 | SM
Carried to Collection
Plinths
A | 12mm thick mortar cement and sand (1.4) rendered to plinths | 4 | SM
Carried to Collection
Collection
| From |  | 1899-12-31
| From |  | 1900-01-01
| From |  | 1900-01-02
Total for Substructure Works Carried to Element Summary
WALLING
Masonry walls bedded and jointed in cement
and sand (1:4) mortar in:
A | 200mm thick walls reinforced with 32x2mm hoop iron every alternate course | 37 | SM
Ring Beams
B | Concrete Class 20/20 for lintels | 1 | CM
High yield reinforcement bars
C | T12 | 66 | KG
D | T8 | 37 | KG
E | Sawn Formwork for Lintels | 8 | SM
Total for Walling Carried to Element Summary
ROOF CONSTRUCTION
The following in assorted timber trusses
hoistingand fixing in position 2500 mm above
ground floor include all necessary jointing
A | 100x50 Truss Members (Rafters and Ties) | 19 | LM
B | 100x50 Truss Members (Struts) | 74 | LM
Purlins
C | 75X50mm Purlins | 63 | LM
Wall plate
D | 100X50 Wall plate | 18 | LM
Fascia Board
E | 200x25mm Fascia board | 19 | LM
Total for Roofing Construction Carried to Element Summary
DOORS
Steel door
A | Supply and fix 900 x 2400mm high steel casement door including steel framework and iron mongery | 1 | NO
B | Supply and fix 900 x 2400mm high grilled steel casement door including steel framework and iron mongery | 1 | NO
Solid flush door
C | 50mm thick single leaf panel door size 820x2100mm high External Door | 1 | NO
Wrot mahogany
D | 100x50mm rebated frame | 7 | LM
E | 50x25mm architrave | 7 | LM
F | 15mm quadrant | 7 | LM
Ironmongery
Supply the following items of ironmongery with
matching screw stall as ''union'' or any other
equal and approved:-
G | 100mm pressed steel butt hinges | 3 | PRS
H | Two lever mortice lock complete with set of lever handles with brass finish ref. NO. 2277 | 1 | NO
I | Rubber door stop | 1 | NO
Prepare and apply two undercoats one
finishing coat gloss oil paint to:-
J | General wood surfaces | 4 | SM
K | Wood surfaces 100-200mm girth | 6.6 | LM
Total for Doors Carried to Element Summary
WINDOWS
Supply and fix steel casement windows
consisting ofStandard Angline section frames
and square rodes primed with one coat red
oxide complete with steel metal hood
permanent vents with nylon mosquito gauze
including all ironmongery , standard metal
glazing bars, clips coupling, mullions and
transome, fixing lugs and screw to walling and
pointing all round frame
A | Windows size 1200x1200mm high | 2 | NO
Glazing
B | 4mm thick clear sheet glass and glazing to metal in metal putty in panes 0.10-0.50 square meters | 3 | SM
Painting
Touch up manufactures priming coat prepare
and apply two undercoats and one finishing
coat gloss oil paint to:-
C | Glazed metal surface(measured ove glass) | 0.6 | SM
Total for Windows Carried to Element Summary
FINISHES
A | Key pointing to external wall | 37 | SM
B | 12mm thick two coats of lime plaster to intermal wall | 37 | SM
Prepare and apply three coats first qoulity
plastic emulsion paint to:-
C | Internal Walls | 37 | SM
EXTERNAL WALL FINISHES
D | 12mm thick 1:4 Cement Sand render to ring beam | 12 | SM
Prepare and apply three coats first quality
plastic emulsion paint to:-
E | Ring Beam | 3 | SM
FLOOR FINISHES
G | 30mm screed to floor including grey oxide finish | 23 | SM
H | Ceramic wall and floor tiles to the washroom | 16 | SM
CEILING FINISHES
J | 50x50mm Brandering on trusses to receive ceiling board | 14 | SM
K | Chip Board suspended at height of 2700mm above and finishe floor level | 14 | SM
Total for finishes
A | Cornice | 18 | LM
B | T&G PVC Ceiling finish to eaves | 9 | SM
Prepare and apply three coats first quality
plastic emulsion paint to:-
C | Chip Board Ceiling finish | 14 | SM
ROOF FINISHES
IT5 Sheets :-
D | 28 gauge roof covering sheets fixed onto timber purlins (m.s) | 23 | SM
E | Matching ridge capping | 3 | SM
RAIN WATER DISPOSAL
150x100mm PVC gutter including soldered joints
F | in the running length fixed to fascia board with | 15 | LM
and including brackets at approved centers
G | 100mm dia. rainwater downpipe fixed with and
| including mild steel straps at 900mm centres, | 6 | LM
plugged and screwed to wall
H | Ditto Bends | 2 | NO
I | Ditto Ends | 2 | NO
Total carried to collection
Collection
Collection from page 1
Collection from page 2
Total amount for finishes carried to summary
GATE HOUSE SUMMARY PAGE
1 | Sub Structure | From
2 | Walling | From
3 | Roof Construction | From
4 | Doors | From
5 | Windows | From
6 | Finishes | From
Provisional sums
A | Provide for power connection and electrical works(power,lighting)
B | Provide for interrnal plumbing, drainage sanitary fitting and connection to existing services(water & sewer line)
Total amount for gate house carried to summary page

## summary
PROPOSED CONSTRUCTION OF PERIMETER WALL AT UMMA UNIVERSITY
STAFF QUARTERS KAJIADO
BILL OF QUANTITITES
CONTRACT
ITEM | DESCRIPTION | BOQ
SUMMARY
1 | PRELIMINARIES
2 | SUBSTRUCTURE
3 | SUPERSTRUCTURE CONCRETE
4 | WALLING
5 | RAZOR WIRE
6 | GATE HOUSE
TOTAL AMOUNT FOR PROPOSED WORKS

## P&D Bills (hidden)
PROPOSED NEW WASHROOMS.
FOR
M/S KENYA SCHOOL OF REVENUE ADMINISTRATION (KESRA) - NAIROBI.
PLUMBING, DRAINAGE & SANITARY FIXTURES INSTALLATIONS
BILLS of QUANTITIES
(ALL RATES TO BE INCLUSIVE OF V.A.T AS APPLICABLE)
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (K. SHs)
MV.00 | GENERAL ITEMS.
A | Allow for cost of insurance for the works in accordance with the Conditions of Contract. | 1 | Sum |  | 0
0
B | Allow for the cost of performance bond in accordance with Conditions of Contract. | 1 | Sum |  | 0
0
C | Allow for the preparation of all "As Built" Drawings including compilation of all hand over documentation and installation test results. | 1 | Sum |  | 0
0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (KSHS).
SANITARYWARE & EQUIPMENT SUPPLY & INSTALLATION.
P.01.00 | Supply the listed sanitary ware items and equipment complete, deliver to the project site, and assemble install. Allow for supply and installation of all fixings, supports and connections to the existing services and isolating valves. Include for supply and installation of all fittings, angle valves and accessories. Allow for any other item required for the satisfactory execution and completion of the installation.
The approved ceramic Sanitary ware manufacture shall be "DURAVIT" and Chrome fittings and accessories manufacture shall be "COBRA" or "GROHE" or similar of equal or better quality and approved.
P.01.01 | W.C Pan as Duravit D-Code; Close Coupled; 65cm; Model # 21110100002 complete with Cistern Ref# 092700004, Seat & Cover Ref# 0067310000 and W.C Connector. | No. | 12 |  | 0
P.01.02 | Vanity Basin as Duravit D-Code; 54cm; Model #0337540 complete with 35mm diameter uPVC Anti-syphonage bottle trap with extension pipe and flange and, Chrome plated grid waste. | No. | 8 |  | 0
P.01.03 | Chrome plated Self-closing Push Type Pillar Tap 1/2'' as DOCOL and inclusive of flexible hose pipe as Cobra C-15-350 and angle valve as Cobra 832-10. | No. | 8 |  | 0
P.01.04 | Urinal with Concealed Inlet and Spreader as Duravit D-Code Model #082930 and complete with hangers, brackets and fixings. | No. | 6 |  | 0
P.01.05 | Urinal Divider as Duravit D-Code Model complete with hangers, brackets and fixings. | No. | 6 |  | 0
P.01.06 | Urinal Flush Valve as "DOCOL" Urinal Flush Valve. | No. | 6 |  | 0
P.01.07 | Sensor operated, wall mount Hand Dryer in stainless steel one-piece cover, satin finish as "Mediclinics" M03ACS and complete with fixings. | No | 3 |  | 0
P.01.08 | Liquid Soap Dispenser, wall mounted, push-button operated in stainless steel AISI 304 body, satin finish as "Mediclinics" DJ0030CS and complete with fixings. | No | 5 |  | 0
| TOTAL CARRIED FORWARD. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (KSHS).
SANITARYWARE & EQUIPMENT SUPPLY & INSTALLATION.
| TOTAL BROUGHT FORWARD. |  |  |  | 0
P.01.09 | Toilet Paper Dispenser in stainless steel AISI 304, satin finish as "Mediclinics" PR0789CS and complete with fixings. | No. | 12 |  | 0
P.01.10 | 6mm thick polished plate glass silver backed mirror with beveled edges, size 2200mm x 610mm, Plugged and screwed to wall with 4No. chrome plated dome capped screws. The mirror shall rest against a layer of 5mm thick foam. | No. | 4 |  | 0
P.01.11 | Ditto but size, 1000mm x 610mm ditto. | No. | 1 |  | 0
P.01.12 | DISABLED TOILET SET AS TWYFORDS DOC M VALUE PACK , BLUE GRAB RAILS & SEAT. Comprising components: Avalon HO pan with Doc.M value cistern, fittings and standard lever. Doc.M seat ring, stainless steel hinge. Doc.M 360 Handrinse basin, 2 tap including fixings. Tap hole stopper for handrinse basin. Spray mixer lever operated. Mixing valve - thermostatic TMV3 (SF1337XX). 5No x Doc.M support rails. Doc.M hinged support rail and toilet roll holder. Pan fixings. Cistern cover clips. | No. | 1 |  | 0
P.01.13 | CP Flexible hose pipe, 1/4" x 300mm long and complete with angle valve (with cold water indice) for connection of sanitary fixtures to the plumbing syste. | No. | 22 |  | 0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (KSHS).
WATER DISTRIBUTION SYSTEM (IN PPR PN 25 PIPING AND ACCESSORIES)
P.02.00 | Supply, install, test and commission the water distribution system in PPR PN 25 piping to conform to the requirements of B.S 6700 and to the particular requirements of the site. Each room to be installed with isolation valve. Include for all pipe brackets, hangers and fixings as per pipe manufacturer's recommended spacing. Allow for any other item required for the satisfactory execution, completion and operation of the installation.
Allow in the rates for all pipe fittings and accessories of the same manufacture including but not limited to reducer bushings, transition bushings, transition couplings, reducer couplings, brass couplings, Tees, reducer Tees, elbows, adaptors, brass FPT Tees, brass FPT elbows and brass male adaptors all as required for the complete the cold water distribution system.
P.02.01 | 42mm diameter inclusive of all connectors, adaptors, supports and valves installed in walls, floors and ceilings from the existing plumbing system within the washrooms area to urinals, W.Cs and W.H.Bs. | Lm | 12 |  | 0
P.02.02 | Ditto but 32mm ditto. | Lm | 16 |  | 0
P.02.03 | Ditto but 25mm ditto. | Lm | 12 |  | 0
P.02.04 | Brass Gate Valve, 25mm diameter (ID) as "Cobra" 1002/125-20. | No. | 2 |  | 0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (KSHS).
SOIL AND WASTE DRAINAGE SYSTEM (uPVC PIPING)
P.03.00 | Supply, install, test and commission the installation in Heavy Duty UPVC pipework; grey for the internal above ground system and golden brown for the buried system all complying to BS 5750 quality system of manufacture and to BS 5572, BS 4515 and BS 5255 and to the particular condition and requirements of the site. The manufacturer's pipe jointing recommendations shall be fully complied with.
Allow in the rates for all necessary pipe fittings and accessories of the same manufacture including but not limited to adaptors, connectors, Tees, reducers, elbows, rodding access points, plugs and all pipe brackets, hangers and fixings as required for the satisfactory execution of the work and efficient completion and operation of the soil and waste drainage system. Include in the rates for linking the new drainage pipework to the existing soil & wate drainage system on site.
P.03.01 | 32mm diameter. | Lm | 12 |  | 0
P.03.02 | 40mm diameter. | Lm | 6 |  | 0
P.03.03 | 50mm diameter. | Lm | 14 |  | 0
P.03.04 | 100mm diameter. | Lm | 24 |  | 0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
SUMMARY PAGE.
ITEM. | DESCRIPTION |  | AMOUNT (KSHS).
P.00 | PRELIMINARIES. |  | 0
P.01.00 | SANITARYWARE & EQUIPMENT SUPPLY & INSTALLATION. |  | 0
P.02.00 | WATER DISTRIBUTION SYSTEM (IN PPR PN 25 PIPING AND ACCESSORIES) |  | 0
P.03.00 | SOIL AND WASTE DRAINAGE SYSTEM (uPVC PIPING) |  | 0
| CONTIGENCY SUM. |  | 50000
GRAND TOTAL FOR PLUMBING & DRAINAGE INSTALLATIONS CARRIED FORWARD TO MAIN SUMMARY.
Total Amount in Words :
State anticipated completion period: ………………………….………. (Calender Weeks).
Contractor's Rubber Signature:
Date:

## ELECTRICAL BILLS. (hidden)
PROPOSED NEW WASHROOMS
FOR
M/S KENYA SCHOOL OF REVENUE ADMINISTRATION (KESRA) - NAIROBI.
ELECTRICAL INSTALLATIONS.
PRICED BILLS of QUANTITIES.
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT (K. SHs)
MV.00 | GENERAL ITEMS.
A | Allow for cost of insurance for the works in accordance with the Conditions of Contract. | 1 | Sum |  | 0
0
B | Allow for the cost of performance bond in accordance with Conditions of Contract. | 1 | Sum |  | 0
0
C | Allow for the preparation of all "As Built" Drawings including compilation of all hand over documentation and installation test results. | 1 | Sum |  | 0
0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
ITEM. | DESCRIPTION. | UNIT. | QTY. | RATE in KShs. | AMOUNT in KShs.
LIGHTING SYSTEM.
E1.01.00 | Supply and deliver to site materials, fittings and accessories, install, connect-up complete to IEE Regulatory requirements and Electrical Codes of Practice, test and commission the installation. Include in the rates for Supply, installation and connecting-up all cables including all required conduits, supports, fixings, sleeves and accessories for power point, install complete all conduits, supports, fixings, sleeves. Cabling materials and lighting fittings manufacture shall be fully compliant to ANSI / IEE / ICEA/ ETL/ NEMA / EIA/TIA and approved.
Light fittings and controls manufacturer shall be as "Robus" / "Philips" / "Thorn" or equivalent and approved. Light fittings shall be with electronic ballasts and inclusive of all accessories and lamps.
Accessories manufacturer shall be as "CLIPSAL"/ "MEM"/ "MK" or equivalent and approved.
Special note shall be taken to ensure that:-
i) All cables shall be certified and listed copper conductors, 900C rated PVC color coded insulation, to IEE standards.
i) Earth conductors are drawn and terminated to all lighting switch boxes.
ii) Lighting fittings to be supplied complete with lamps, fixings brackets and accessories.
iii) All the lighting fittings to be suspended from the slab with ADJUSTABLE CHAINS not resting on the suspended ceilings.
E1.01.01 | Install lighting system points wired in 1.5mm2 PVC insulated single core copper cables, drawn in 20mm diameter heavy gauge PVC conduits concealed in walls and surface installations within the ceiling voids and/or in cable trunkings, one way switched, with links to the raw power distribution board inclusive of all galvanized iron conduit boxes and accessories but excluding switch and light fittings. | No. | 32 |  | 0
| TOTAL CARRIED FORWARD. |  |  |  | 0
ITEM. | DESCRIPTION. | UNIT. | QTY. | RATE in KShs. | AMOUNT in KShs.
LIGHTING SYSTEM.
| BALANCE BROUGHT FORWARD |  |  |  | 0
E1.01.02 | Install maintained emergency lighting system points wired in 1.5mm2 PVC insulated single core copper cables, drawn in 20mm diameter heavy gauge PVC conduits concealed in walls and surface installations within the ceiling voids and/or in cable trunkings, one way switched with all galvanized iron conduit boxes and accessories but excluding switch and light fittings. | No. | 4 |  | 0
E1.01.03 | Supply and install IP65 GU10 4.5W LED Spotlight fittings complete with White surface finish as "ROBUS" Model RFS1016545-01 complete Driver fixings and accessories. | No. | 23 |  | 0
E1.01.04 | Supply and install 108mm diameter 10W LED Downlight with White finish as "ROBUS INFINITY 10W IP44" Model R10WDL-01 complete with LED Driver fixings and accessories. | No. | 9 |  | 0
E1.01.05 | Supply and install complete at locations as detailed on the drawings, 3 Watts non-maintained recessed ceiling mount LED emergency lighting fittings as PIERLITE, LED FIREFLY Code No. FFRLED. | No. | 4 |  | 0
E1.01.06 | Supply and Install Light Switches as "CLIPSAL": |  |  |  | 0
a | 1 Gang, 1 Way. | No. | 3 |  | 0
b | 2 Gang, 1 Way. | No. | 2 |  | 0
0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. |  | AMOUNT in KShs.
SMALL POWER.
E1.02.00 | Supply and deliver to site materials, fittings and accessories, install, connect-up complete and commission the installation. Include in the rates for Supply, installation and connecting-up all cables including all required conduits, supports, fixings, sleeves and accessories for power point, install complete all conduits, supports, fixings, sleeves and accessories for voice and data points.
Cabling materials and accesories manufacture shall be fully compliant to ANSI / IEE / ICEA/ ETL/ NEMA / EIA/TIA and approved.
Accessories manufacturer shall be as "CLIPSAL"/ "MEM"/ "MK" or equivalent and approved to BS 1363.
Special note shall be taken to ensure that:-
i) All cables shall be certified and listed copper conductors, 900C rated PVC color coded insulation, to IEE standards. UPS circuits shall be installed in cables with a different color code from that used for Raw Power Circuits. All points to be wired with earth conductor.
E1.02.01 | Install DP switch points radial circuit points at an average approximate length of 15 metres from the distribution board wired in 2.5mm2 PVC insulated single core copper cables drawn in 20mm diameter heavy gauge PVC conduits concealed in walls and surface conduit installations within the ceiling void with all galvanised iron conduit boxes and accessories but excluding the socket outlet face plates (For Hand Drier and Fan equipment Power supply). | No. | 5 |  | 0
E1.02.02 | Install Fire Alarm system Ring circuit outlet points with draw wire and blanking plates in 25mm diameter heavy gauge PVC conduits all with wide radius bends and draw wire concealed in walls and/or ceiling voids with all galvanized iron conduit boxes and accessories linking to the existing system points and to the main riser duct. | No. | 4 |  | 0
| TOTAL CARRIED FORWARD. |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY. | RATE in KShs. | AMOUNT in KShs.
SMALL POWER.
| BALANCE BROUGHT FORWARD |  |  |  | 0
E1.02.03 | Supply complete and fix, 10A DP switched plates with flex outlet provision and with Neon Indicator light as CLIPSAL or MK or similar and approved. | No. | 2 |  | 0
E1.02.04 | Supply complete and fix, 20A DP switch plates with flex outlet provision and with Neon Indicator light as CLIPSAL or MK or similar and approved. | No. | 3 |  | 0
E1.02.05 | Supply and install Surface/Recess Mount 63 Amps 6-Way SP Consumer Unit complete with all cable lugs, cable glads, fixings and accessories. Allow in the rates for all circuitry labelling in the CU board inclusive of corresponding labelling on the outlet plates. | Item | 1 |  | 0
E1.02.06 | Supply and install Surface/Recess Mount 63 Amps 6-Way SP Consumer Unit complete with all cable lugs, cable glads, fixings and accessories. Allow in the rates for all circuitry labelling in the CU board inclusive of corresponding labelling on the outlet plates. | Item | 1 |  | 0
E1.02.07 | Supply and install the following MCB breakers in the CU.
a | 20 Amps SP. | No. | 3 |  | 0
0
b | 10 Amps SP. | No. | 4 |  | 0
0
E1.02.08 | Supply and install sub-main cable; 6mm2 x 3Core PVC/SWA/PVC + 4mm2 Earth copper cables inclusive of all cable lugs, glands and shrouds, laid in cable trays (measured seperately) from the main distribution board to the Lighting System SP CU (Provisional). | Lm | 35 |  | 0
| TOTAL CARRIED TO SUMMARY PAGE. |  |  |  | 0
SUMMARY PAGE.
ITEM. | DESCRIPTION. | KShs.
E.00 | PRELIMINARIES. | 0
E1.01.00 | LIGHTING SYSTEM. | 0
E1.02.00 | SMALL POWER. | 0
| CONTIGENCY SUM. | 50000
GRAND TOTAL FOR ELECTRICAL INSTALLATIONS CARRIED FORWARD TO MAIN SUMMARY.
Total Amount in Words :
State anticipated completion period: ………………………….………. (Calender Weeks).
Contractor's Rubber Signature:
Date: